## Sheet1
Form Name | Modification Needed
DTR Repairer | *Repairer Type dropdown is not needed,Repairer center information is needed
*Contract period for Repairer should be mentioned
*Repairer should only view tc's which comes under his repair
DTC Tracker | *information should be addded like hoqw many times tc undergone repair,which repairer did the repair,location ,Repairer Address
Deliver DTR | *After Repairing Testing should be done like firm test bench,Inspection Test Bench
While taking tc to store Tested by whom and tc tested on should be properly entered
*Repairer center shuould be loaded on Division Basis
TC Master | *For Transformers Rating should be given
*dropdown should be there Non Star Rated and Star Rated
*In star rated dropdown 1 star,2 star,3 star,4 star should be loaded
*oil Capacity should be added
*All necessary information in Transformer name plate should be in TC master form
Failure Entry | *Before declaring tc as Failured it should be vetrified/Approved by AEE
*Digiital Signature is needed??(if possible)
*dropdown should be there in dtc failture for failure reason like Short Circuit,Overload,Lightning,Burst Out,Accident
*Another field for reaqson entry should also be given
*Subdivision Field should be added
*After declared as failure Alert should be sent
DTC Commissioning | *Project Scheme values should be changed like urban,rural,NJY,Mixed Load
*LoadType values should be changed
Indent Creation | *Alert should be sent in priority
Invoice Creation | *System Generated Invoice should be dispalyed
Gate Pass has to generate
*For each store different invoice ids should be given
Decommisiong | *While decommisioning oil capacity should be mentioned
Fault Transformer Search | Name should be renamed as Faulty Transformer Search
* After Receiving Tc from Repairer it should be tested
Transformer Pending with
supplier/Repairer | *Should be renamed as Transformer Inspection at Repairer Center
*Coil Scrapping should be removed
*Test Date and Testing done by field should be added

## Sheet2
DTR Repairer | Repairer Type is not needed
Contract period for Repairer should be mentioned
Each Repairer should be allocated to particular Division
DTR Tracker | DTr Make,capacity,Slno should be displayed
Repair Center Name shold be displayed in Tracker
Information should be addded like how many times DTr undergone repair,which repairer did the repair,location ,Repairer Address
DTR repair Login | Repairer should only view DTr which comes under his repair center
DTR Repair Mgmt. | Faulty Transformers send for Repairer/Suppliers Logic should be change
Repairer and Testing activities should be logged
Testing Officer name,Designation and Testing Report Upload provision should be provide
DTR Master | For Transformers Rating should be given as Non Star Rated and Star Rated
In star rated dropdown 1 star,2 star,3 star,4 star should be loaded
Oil Capacity should be added
All necessary information in Transformer name plate should be in DTr master form
Weight of the DTr should be added
Clarrification | Regular,Self Execution,Exclusive Transformer
If Self execution : He need to repair if DTr Fails within one year.After that CESC has to take care
DTC Master | Feeder Wise Search has to be given
In Scheme Type NON RAPDRP,IPDS,DDUGJY,RGGGY has to be added
In Load Type, RURAL,URBAN,NJY,IP has to be added
DTC Failure | Failure Type has to be added (Burnt,Overload,single phase,winding failure,Due to Lightning, Heavy Wind & Raining,Tree Fallen,Accident)
Work Order | Provision to give Upload Work Order Estimation Sheet
Indent | Alert should be send Based on these heirarchy : Water Supply,Urban, NJY,IP
Invoice Creation | System Generated Invoice should be dispalyed
Gate Pass has to be generate
Provision to download the uploaded Work Order and Indent Estimated Documents
Invoice ID should be Reset on every Year April 1st
Decommisiong | oil capacity should be mentioned